- Explosion proof (EX) Cabinet Air Conditioner

Ex Signalling Devices are specialized alert systems engineered for safe operation in hazardous environments containing explosive gases and dust. These devices meet rigorous international safety standards including ATEX and IECEx certifications, ensuring compliance with global safety regulations. These devices are manufactured from robust materials such as stainless steel and fiberglass. They are widely deployed across critical sectors including petrochemical plants, oil & gas operations, and mining facilities where safety in explosive atmospheres is paramount.

- Ex Window Type Air Conditioner

Explosion-proof Unitary air conditioner is explosion-proof electrical product certified by IECEx /ATEX and used for Zone 1, Zone 2, Zone21, Zone 22, IIA, IIB, IIC, IIIA, IIIB, IIIC class, T1 ~ T4 group. Applicable to petrochemical, marine engineering and other fields where there are flammable explosive gas driller room, electrical control room, warehouse, gas station, and etc. for temperature control purpose. Product is made of Stainless steel (SS304, SS316L) and Carbon Steel with Powder Coating Casing.

- Ex Wall Mount/Split Air Conditioner

Explosion-proof split air conditioner is explosion-proof electrical product certified by IECEx / ATEX and used for Zone 1, Zone 2. Applicable to control room, driller room, workshop, hazardous goods warehouse in petroleum, chemical, military, power utility, marine engineering and other fields where they maintain safe ambient conditions for personnel and equipment without creating ignition sources. Primary Applications in Control rooms, local cabinets, Analysing shelters and oil & Gas Skids and battery rooms etc.

- Explosion-proof Modular Air-cooled Chiller

Explosion-proof modular air-cooled chillers are purpose-built cooling units for hazardous environments where flammable gases or combustible dust may be present. They combine certified explosion-proof construction with modular, scalable air-cooled refrigeration to provide safe, reliable temperature control for sensitive equipment and processes. The combination is flexible. According to different cooling requirements, various modular units can be combined in any combination, with good scalability and adaptability.

- Ex Heating And Ventilation Air Conditioning Unit

Explosion-proof heating and ventilation air conditioning unit is explosion-proof electrical product certified by ATEX / IECEx / EAC / CHINA Ex and used for Zone 1, Zone 2, IIA, IIB, IIC class, T1 ~ T4 group. Applicable to online analytical cabin, control room, operating room, electrical room in petrochemical, marine and other fields where there are requirements for positive pressure ventilation, indoor temperature and humidity regulation. Unit design concept is targeted clearly and specifically, unit is long-term continuous operational in harsh industrial environment; Unit frame is made of hot galvanized plate or stainless steel molding to achieve high strength and good stability.

Certifications

Place in the page below

Link for Other company content

https://daly-me.com/partners/ex-machinery/